SECTION 07 27 26 – FLUID-APPLIED MEMBRANE AIR BARRIERS

SPECIFIER NOTE: This guide specification is intended for new construction building envelope installations including fluid-applied weather- and air-barriers, rough openings, void filling, seams, gaps, and through penetrations in conjunction with window and door flashings, joint sealants, and accessories.

PART 1 – GENERAL

1.1 SUMMARY
A. Section Includes:

- Fluid-applied, vapor-permeable air- and water-resistive barrier system.

- Liquid-applied flashing and detailing accessories for rough openings, penetrations, and transitions.

B. Related Requirements:

- Section 01 33 00 – Submittal Procedures.

- Section 01 45 80 – Testing Laboratory Services.

- Section 01 60 00 – Product Requirements.

- Section 07 65 00 – Flexible Flashing.

1.2 REFERENCES

A. ASTM E2178 – Air Permeance of Building Materials.
B. ASTM D471 – Water Absorption of Building Materials                                                                                           C. ASTM E84 – Surface Burning Characteristics of Building Materials.
D. ASTM D4541 – Pull-Off Strength of Coatings (Adhesion).
E. ASTM E96 – Water Vapor Transmission.
F.  AAMA 714 – Voluntary Specification for Liquid-Applied Flashing.
G. ASTM C1305 – Crack Bridging Capabilities of Coatings.

H. ASTM D1970 – Nail Sealability of Coatings.

I.   AATCC 127 – Water Resistance Test Method.

1.3 ADMINISTRATIVE REQUIREMENTS
A. Pre-Installation Meeting: Convene before start of air- and water-resistive barrier work.

- Attendees: Owner’s representative, Architect, Contractor, installing subcontractor, manufacturer’s representative, and trades with work penetrating the barrier.

- Review substrate prep, curing times, details, sequencing, installation procedures, inspection methods, and protection.

1.4 PERFORMANCE REQUIREMENTS
A. Provide continuous, durable air- and water-resistive barrier to control air leakage, prevent water intrusion, and allow for substrate movement.
B. System shall resist positive and negative wind pressures without displacement or loss of continuity.

1.5 SUBMITTALS
A. Product Data: Manufacturer’s data sheets, installation instructions, and preparation requirements.
B. Test Reports: Independent reports confirming compliance with ASTM standards.
C. VOC Certification.
D. Warranty documentation.

1.6 QUALITY ASSURANCE
A. Manufacturer: Minimum two (2) years’ experience producing specialty coatings and/or waterproofing materials.
B. Installer: Approved by manufacturer.
C. Mock-Up: Provide minimum 8 ft x 8 ft wall assembly including opening and penetration.

1.7 DELIVERY, STORAGE, AND HANDLING
A. Deliver materials in manufacturer’s unopened, labeled containers.
B. Store in accordance with manufacturer’s instructions; protect from freezing and high heat.          C. Dispose of packaging materials and waste in accordance with applicable local, state, and federal regulations; recycle materials when possible.

1.8 FIELD CONDITIONS
A. Apply only when temperatures and weather conditions are within manufacturer’s limits.
B. Do not apply to frozen or visibly wet substrates.
C. Protect applied membrane from UV exposure longer than manufacturer’s recommended period.

1.9 WARRANTY
A. Provide manufacturer’s standard limited warranty.

PART 2 – PRODUCTS

2.1 MANUFACTURER
Tower Sealants, an M-D Building Products Company
2095 Memorial Park Dr, Gainesville GA 30504

www.towersealants.com

2.2 FLUID-APPLIED AIR- AND WATER-RESISTIVE BARRIER
A. Product: AU-1 LAB – Liquid-Applied Air, Water, and Flashing Barrier.
B. Description: Single-component, styrene-butadiene resin (SBR) elastomeric liquid-applied waterproofing and flashing membrane.

- Functions as both WRB and flashing.

- Primerless adhesion to common substrates, including green concrete.

- Low-odor, low-VOC, breathable waterproof seal.

- Apply by spray, roller, or brush per manufacturer’s install guide; soap and water cleanup.

C. Performance Requirements:

- Air Permeance: ≤ 0.00077084 L/s·m² @ 75 Pa, ASTM E2178.

- Water Resistance: Pass, AATCC 127.

- Surface Burning: Flame Spread 10, Smoke Developed 35, ASTM E84.

- Adhesion: 346 psi min, ASTM D4541.

- Vapor Permeance: 16 perms, ASTM E96.

- UV Exposure: 6 months

2.3 ACCESSORIES
A. AU-1 LAB as Liquid Flashing – liquid-applied detailing for rough openings, penetrations, and transitions.												 B. AU-1 Commercial Construction Sealant
B. Primers as needed, and other components approved by manufacturer.

PART 3 – EXECUTION

3.1 EXAMINATION
A. Verify substrates are sound, clean, and free of contaminants.
B. Ensure surfaces meet manufacturer’s requirements for application.

3.2 PREPARATION
A. Fill voids, cracks, and gaps with AU-1 Commercial Construction Sealant.
B. Protect adjacent surfaces not receiving membrane.

3.3 APPLICATION
A. Apply AU-1 LAB per manufacturer’s written instructions:

- Spray in a single coat using a crosshatch pattern at minimum 30 wet mils.

- Apply as liquid-applied flashing at rough openings.

- Ensure continuous, pinhole-free film.

B. Allow to cure fully before installing cladding.

3.4 FIELD QUALITY CONTROL
A. Do not conceal membrane until inspected and approved.
B. Repair punctures, voids, or discontinuities.

3.5 PROTECTION
A. Protect installed system from damage during construction.

B. Coordinate to ensure that weather-resistive barrier will be covered by materials and/or cladding prior to manufacturer’s stated time limit for UV exposure.

C. Ensure the top edge of the liquid-applied weather-resistive barrier is fully integrated with the roofing system and sealed to prevent water intrusion. Confirm that weather-resistive barrier forms a continuous, uninterrupted membrane across the building envelope.

END OF SECTION 07 27 26